## Gain Calibration
Cum. Beam MU % | 0 | 20 | 20 | 50 | 50 | 100
Dose Rate | 150 | 150 | 300 | 300 | 0 | 0
Energy | 6 MV | 6 MV | 6 MV | 6 MV | 6 MV | 6 MV | We recommand to set Beam MU = 300
Radiation Type | X-Rays | X-Rays | X-Rays | X-Rays | X-Rays | X-Rays
Wedge Position | OUT | OUT | OUT | OUT | OUT | OUT
Accessory
Applicator
Diaphragm Angle | 0 | 0 | 0 | 0 | 0 | 0
Diaphragm Direction | NONE | NONE | NONE | NONE | NONE | NONE
Diaphragm X1 | 13 | 13 | 13 | 13 | 13 | 13
Diaphragm X2 | 13 | 13 | 13 | 13 | 13 | 13
Diaphragm Y1 | 20 | 20 | 20 | 20 | 20 | 20
Diaphragm Y2 | 20 | 20 | 20 | 20 | 20 | 20
Fiment
Gantry Angle | 0 | 0 | 0 | 0 | 0 | 0
Gantry Direction | NONE | NONE | NONE | NONE | NONE | NONE
Table Col. Angle
Table Height
Table Iso. Angle
Table Lat.
Table Long.
Leaf Y1 01 | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
… | 13 | 13 | 13 | 13 | 13 | 13
Leaf Y2 80 | 13 | 13 | 13 | 13 | 13 | 13

## Panel Sag CW Calibration
Cum. Beam MU % | 0 | 100
Dose Rate
Energy | 6 MV | 6 MV | We recommand to set Beam MU = 1000
Radiation Type | X-Rays | X-Rays
Wedge Position | OUT | OUT
Accessory
Applicator
Diaphragm Angle | 0 | 0
Diaphragm Direction
Diaphragm X1 | 5 | 5
Diaphragm X2 | 5 | 5
Diaphragm Y1 | 20 | 20
Diaphragm Y2 | 20 | 20
Fiment
Gantry Angle | -179.9 | 179.9
Gantry Direction | CW | CW
Table Col. Angle
Table Height
Table Iso. Angle
Table Lat.
Table Long.
Leaf Y1 01 | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
Leaf Y2 80 | 5 | 5

## Panel Sag CC Calibration
Cum. Beam MU % | 0 | 100
Dose Rate
Energy | 6 MV | 6 MV | We recommand to set Beam MU = 1000
Radiation Type | X-Rays | X-Rays
Wedge Position | OUT | OUT
Accessory
Applicator
Diaphragm Angle | 0 | 0
Diaphragm Direction
Diaphragm X1 | 5 | 5
Diaphragm X2 | 5 | 5
Diaphragm Y1 | 20 | 20
Diaphragm Y2 | 20 | 20
Fiment
Gantry Angle | 179.9 | -179.9
Gantry Direction | CC | CC
Table Col. Angle
Table Height
Table Iso. Angle
Table Lat.
Table Long.
Leaf Y1 01 | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
… | 5 | 5
Leaf Y2 80 | 5 | 5